## Sheet1
variables | units | values | description
materials.rho_fiber | kg/m**3 | [ 0. 2600. 2600. 2600. 0. 0. 0. 0. 0.] | 1D array of the density of the fibers of the materials.
materials.rho | kg/m**3 | [1100. 1845. 1845. 1940. 110. 110. 1100. 1150. 8500.] | 1D array of the density of the materials. For composites, this is the density of the laminate.
materials.rho_area_dry | kg/m**2 | [0. 1.112 1.112 1.858 0. 0. 0. 0. 0. ] | 1D array of the dry aerial density of the composite fabrics. Non-composite materials are kept at 0.
materials.ply_t_from_yaml | m | [0.0005 0. 0. 0. 0. 0. 0. 0. 0. ] | 1D array of the ply thicknesses of the materials. Non-composite materials are kept at 0.
materials.fvf_from_yaml |  | [0. 0.4793 0.4793 0.5448 0. 0. 0. 0. 0. ] | 1D array of the non-dimensional fiber volume fraction of the composite materials. Non-composite materials are kept at 0.
materials.fwf_from_yaml |  | [0. 0.6754 0.6754 0.7302 0. 0. 0. 0. 0. ] | 1D array of the non-dimensional fiber weight- fraction of the composite materials. Non-composite materials are kept at 0.
materials.name | Unavailable | ['paint', 'triax', 'biax', 'ud', 'balsa', 'foam', 'adhesive', 'resin', 'steel'] | 1D array of names of materials.
materials.component_id | Unavailable | [ 0. 2. 3. 4. 1. 1. -1. -1. -1.] | 1D array of flags to set whether a material is used in a blade: 0 - coating, 1 - sandwich filler , 2 - shell skin, 3 - shear webs, 4 - spar caps, 5 - TE/LE reinf.
high_level_tower_props.tower_ref_axis_user | m | [[ 0. 0. 0. ] [ 0. 0. 10.8 ] [ 0. 0. 21.61] [ 0. 0. 32.41] [ 0. 0. 43.22] [ 0. 0. 54.02] [ 0. 0. 64.82] [ 0. 0. 75.63] [ 0. 0. 86.43] [ 0. 0. 97.23] [ 0. 0. 108. ]] | 2D array of the coordinates (x,y,z) of the tower reference axis. The coordinate system is the global coordinate system of OpenFAST: it is placed at tower base with x pointing downwind, y pointing on the side and z pointing vertically upwards. A standard tower configuration will have zero x and y values and positive z values.
high_level_tower_props.distance_tt_hub | m | [0.] | Vertical distance from tower top to hub center.
high_level_tower_props.hub_height_user | m | [80.] | Height of the hub specified by the user.
high_level_tower_props.rotor_diameter | m | [0.] | Diameter of the rotor used in WISDEM. It is defined as two times the blade length plus the hub diameter.
tower_grid.ref_axis | m | [[ 0. 0. 0. ] [ 0. 0. 8. ] [ 0. 0. 16.00740741] [ 0. 0. 24.00740741] [ 0. 0. 32.01481481] [ 0. 0. 40.01481481] [ 0. 0. 48.01481481] [ 0. 0. 56.02222222] [ 0. 0. 64.02222222] [ 0. 0. 72.02222222] [ 0. 0. 80. ]] | 2D array of the coordinates (x,y,z) of the tower reference axis. The coordinate system is the global coordinate system of OpenFAST: it is placed at tower base with x pointing downwind, y pointing on the side and z pointing vertically upwards. A standard tower configuration will have zero x and y values and positive z values.
towerse.hub_height | m | [80.]
towerse.tower_height | m | [80.]
towerse.foundation_height | m | [0.]
towerse.tower_s |  | [0. 0.1 0.20009259 0.30009259 0.40018519 0.50018519 0.60018519 0.70027778 0.80027778 0.90027778 1. ]
towerse.member.s_const1 |  | [0.]
towerse.member.s_const2 |  | [0.]
towerse.joint1 | m | [0. 0. 0.]
towerse.joint2 | m | [ 0. 0. 80.]
towerse.tower_layer_thickness | m | [[0.04008507 0.02492591 0.02070004 0.01835766 0.01405952 0.01306585 0.01149385 0.0074917 0.00689777 0.004 0.004 ]]
towerse.tower_outer_diameter_in | m | [4. 4. 4. 4. 4. 4. 4. 4. 4. 3.87 3.87]
towerse.E_mat | Pa | [[4.560e+06 4.560e+06 4.560e+06] [2.179e+10 1.467e+10 1.467e+10] [1.392e+10 1.392e+10 1.392e+10] [4.200e+10 1.230e+10 1.230e+10] [5.000e+07 5.000e+07 5.000e+07] [5.000e+07 5.000e+07 5.000e+07] [4.560e+06 4.560e+06 4.560e+06] [1.000e+06 1.000e+06 1.000e+06] [2.100e+11 2.100e+11 2.100e+11]]
towerse.E_user | Pa | [0.]
towerse.G_mat | Pa | [[1.52000000e+06 1.52000000e+06 1.52000000e+06] [9.41300000e+09 9.41300000e+09 9.41300000e+09] [1.15000000e+10 1.15000000e+10 1.15000000e+10] [3.47000000e+09 3.47000000e+09 3.47000000e+09] [1.66666667e+07 1.66666667e+07 1.66666667e+07] [1.66666667e+07 1.66666667e+07 1.66666667e+07] [1.52000000e+06 1.52000000e+06 1.52000000e+06] [3.84615385e+05 3.84615385e+05 3.84615385e+05] [8.07692308e+10 8.07692308e+10 8.07692308e+10]]
towerse.sigma_y_mat | Pa | [0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 4.5e+08]
towerse.sigma_ult_mat | Pa | [[0.00e+00 0.00e+00 0.00e+00] [6.00e+08 6.00e+08 6.00e+08] [6.00e+08 6.00e+08 6.00e+08] [6.00e+08 6.00e+08 6.00e+08] [6.90e+05 6.90e+05 6.90e+05] [6.90e+05 6.90e+05 6.90e+05] [6.90e+05 6.90e+05 6.90e+05] [0.00e+00 0.00e+00 0.00e+00] [3.55e+08 3.55e+08 3.55e+08]]
towerse.wohler_exp_mat |  | [1. 1. 1. 1. 1. 1. 1. 1. 1.]
towerse.wohler_A_mat |  | [0.00e+00 6.00e+08 6.00e+08 6.00e+08 6.90e+05 6.90e+05 6.90e+05 0.00e+00 3.55e+08]
towerse.rho_mat | kg/m**3 | [1100. 1845. 1845. 1940. 110. 110. 1100. 1150. 8500.]
towerse.unit_cost_mat | USD/kg | [ 7.23 2.86 3. 1.87 13. 13. 0. 3.63 0. ]
towerse.outfitting_factor_in |  | [1.07]
towerse.rho_water | kg/m**3 | [0.]
towerse.tower_layer_materials | Unavailable | ['steel']
towerse.member.ballast_materials | Unavailable | []
towerse.material_names | Unavailable | ['paint', 'triax', 'biax', 'ud', 'balsa', 'foam', 'adhesive', 'resin', 'steel']
towerse.member.gc.d | m | [4. 4. 4. 4. 4. 4. 4. 4. 4. 3.87 3.87]
towerse.member.gc.t | m | [0.03250549 0.02281298 0.01952885 0.01620859 0.01356268 0.01227985 0.00949277 0.00719473 0.00544888 0.004 ]
towerse.member.s |  | [0. 0.1 0.20009259 0.30009259 0.40018519 0.50018519 0.60018519 0.70027778 0.80027778 0.90027778 1. ]
towerse.member.height | m | [80.]
towerse.tower_outer_diameter | m | [4. 4. 4. 4. 4. 4. 4. 4. 4. 3.87 3.87]
towerse.tower_wall_thickness | m | [0.03250549 0.02281298 0.01952885 0.01620859 0.01356268 0.01227985 0.00949277 0.00719473 0.00544888 0.004 ]
towerse.member.E | Pa | [2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11]
towerse.member.G | Pa | [8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10]
towerse.member.sigma_y | Pa | [4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08]
towerse.member.rho | kg/m**3 | [8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500.]
towerse.member.unit_cost | USD/kg | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.member.outfitting_factor |  | [1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07]
towerse.nodes_xyz | m | [[ 0. 0. 0. ] [ 0. 0. 2.66666667] [ 0. 0. 5.33333333] [ 0. 0. 8. ] [ 0. 0. 10.6691358 ] [ 0. 0. 13.3382716 ] [ 0. 0. 16.00740741] [ 0. 0. 18.67407407] [ 0. 0. 21.34074074] [ 0. 0. 24.00740741] [ 0. 0. 26.67654321] [ 0. 0. 29.34567901] [ 0. 0. 32.01481481] [ 0. 0. 34.68148148] [ 0. 0. 37.34814815] [ 0. 0. 40.01481481] [ 0. 0. 42.68148148] [ 0. 0. 45.34814815] [ 0. 0. 48.01481481] [ 0. 0. 50.68395062] [ 0. 0. 53.35308642] [ 0. 0. 56.02222222] [ 0. 0. 58.68888889] [ 0. 0. 61.35555556] [ 0. 0. 64.02222222] [ 0. 0. 66.68888889] [ 0. 0. 69.35555556] [ 0. 0. 72.02222222] [ 0. 0. 74.68148148] [ 0. 0. 77.34074074] [ 0. 0. 80. ]]
towerse.s_full | m | [0. 0.03333333 0.06666667 0.1 0.1333642 0.1667284 0.20009259 0.23342593 0.26675926 0.30009259 0.33345679 0.36682099 0.40018519 0.43351852 0.46685185 0.50018519 0.53351852 0.56685185 0.60018519 0.63354938 0.66691358 0.70027778 0.73361111 0.76694444 0.80027778 0.83361111 0.86694444 0.90027778 0.93351852 0.96675926 1. ]
towerse.z_full | m | [ 0. 2.66666667 5.33333333 8. 10.6691358 13.3382716 16.00740741 18.67407407 21.34074074 24.00740741 26.67654321 29.34567901 32.01481481 34.68148148 37.34814815 40.01481481 42.68148148 45.34814815 48.01481481 50.68395062 53.35308642 56.02222222 58.68888889 61.35555556 64.02222222 66.68888889 69.35555556 72.02222222 74.68148148 77.34074074 80. ]
towerse.d_full | m | [4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 3.95666667 3.91333333 3.87 3.87 3.87 3.87 ]
towerse.member.s_ghost1 |  | [0.]
towerse.member.s_ghost2 |  | [1.]
towerse.t_full | m | [0.03250549 0.03250549 0.03250549 0.02281298 0.02281298 0.02281298 0.01952885 0.01952885 0.01952885 0.01620859 0.01620859 0.01620859 0.01356268 0.01356268 0.01356268 0.01227985 0.01227985 0.01227985 0.00949277 0.00949277 0.00949277 0.00719473 0.00719473 0.00719473 0.00544888 0.00544888 0.00544888 0.004 0.004 0.004 ]
towerse.E_full | Pa | [2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11]
towerse.G_full | Pa | [8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10]
towerse.sigma_y_full | Pa | [4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08]
towerse.rho_full | kg/m**3 | [8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500.]
towerse.outfitting_full |  | [1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07 1.07]
towerse.member.unit_cost_full | USD/kg | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.labor_cost_rate | USD/min | [0.98]
towerse.painting_cost_rate | USD/m**2 | [30.]
towerse.rna_mass | kg | [138360.86874233]
towerse.rna_I | kg*m**2 | [ 3.76433232e+06 4.49777471e+06 4.50522876e+06 -8.14950576e+00 1.90652386e+05 5.54821071e+03]
towerse.rna_cg | m | [-0.90841538 -0.06490094 0.91071726]
towerse.tower_mass | kg | [129985.04806975]
towerse.tower_center_of_mass | m | [27.07949311]
towerse.tower_I_base | kg*m**2 | [1.50939286e+08 1.50939286e+08 5.13456154e+05 0.00000000e+00 0.00000000e+00 0.00000000e+00]
towerse.env.Uref | m/s | [12.62263273]
towerse.wind_reference_height | m | [80.]
towerse.z0 | m | [0.]
towerse.shearExp |  | [0.2]
towerse.env.windLoads.U | m/s | [ 0. 6.393309 7.34398353 7.96434283 8.43641232 8.82169138 9.14947444 9.43582253 9.69111722 9.92204063 10.13346237 10.32858389 10.50998624 10.67951369 10.83891382 10.98945389 11.13217041 11.26792273 11.39743175 11.52142085 11.64029156 11.75449607 11.8643275 11.9702364 12.07252456 12.17145913 12.26727779 12.360193 12.45014856 12.53757703 12.62263273]
towerse.beta_wind | deg | [0.]
towerse.rho_air | kg/m**3 | [1.225]
towerse.mu_air | kg/m/s | [1.81e-05]
towerse.cd_usr |  | [-1.]
towerse.env.distLoads.windLoads_Px | N/m | [ 0. 49.60868996 69.86783604 84.53616157 96.51910237 106.99786649 116.51589685 125.33418157 133.55491077 141.26734207 148.54858365 155.44684271 162.0067486 168.25915341 174.24053278 179.9763688 185.48864535 190.80056223 195.93291724 200.90747643 205.73422242 210.42595714 214.9896522 219.43944505 223.78391891 224.81601212 225.65091432 226.29805425 230.11098361 233.85031498 237.52044708]
towerse.env.distLoads.windLoads_Py | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.distLoads.windLoads_Pz | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.distLoads.windLoads_qdyn | N/m**2 | [ 0. 25.03556999 33.03463265 38.85133848 43.59349489 47.66612124 51.2741406 54.53378247 57.52462372 60.29872034 62.89582405 65.3412827 67.65663414 69.8568578 71.95775738 73.97045927 75.90419606 77.76672562 79.5646385 81.30517225 82.99153738 84.62800896 86.21688852 87.76301767 89.26933271 90.73845562 92.17273887 93.57430227 94.94129702 96.27938811 97.59014997]
towerse.env.distLoads.windLoads_z | m | [ 0. 2.66666667 5.33333333 8. 10.6691358 13.3382716 16.00740741 18.67407407 21.34074074 24.00740741 26.67654321 29.34567901 32.01481481 34.68148148 37.34814815 40.01481481 42.68148148 45.34814815 48.01481481 50.68395062 53.35308642 56.02222222 58.68888889 61.35555556 64.02222222 66.68888889 69.35555556 72.02222222 74.68148148 77.34074074 80. ]
towerse.env.distLoads.windLoads_beta | deg | [0.]
towerse.env.distLoads.waveLoads_Px | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.distLoads.waveLoads_Py | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.distLoads.waveLoads_Pz | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.distLoads.waveLoads_qdyn | N/m**2 | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.distLoads.waveLoads_z | m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.distLoads.waveLoads_beta | deg | [0.]
towerse.yaw | deg | [0.]
towerse.s_all |  | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.g2e.Px_global | N/m | [ 0. 49.60868996 69.86783604 84.53616157 96.51910237 106.99786649 116.51589685 125.33418157 133.55491077 141.26734207 148.54858365 155.44684271 162.0067486 168.25915341 174.24053278 179.9763688 185.48864535 190.80056223 195.93291724 200.90747643 205.73422242 210.42595714 214.9896522 219.43944505 223.78391891 224.81601212 225.65091432 226.29805425 230.11098361 233.85031498 237.52044708]
towerse.g2e.Py_global | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.g2e.Pz_global | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.g2e.qdyn_global | Pa | [ 0. 25.03556999 33.03463265 38.85133848 43.59349489 47.66612124 51.2741406 54.53378247 57.52462372 60.29872034 62.89582405 65.3412827 67.65663414 69.8568578 71.95775738 73.97045927 75.90419606 77.76672562 79.5646385 81.30517225 82.99153738 84.62800896 86.21688852 87.76301767 89.26933271 90.73845562 92.17273887 93.57430227 94.94129702 96.27938811 97.59014997]
towerse.lc:Px | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.lc:Py | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.lc:Pz | N/m | [ 0. -49.60868996 -69.86783604 -84.53616157 -96.51910237 -106.99786649 -116.51589685 -125.33418157 -133.55491077 -141.26734207 -148.54858365 -155.44684271 -162.0067486 -168.25915341 -174.24053278 -179.9763688 -185.48864535 -190.80056223 -195.93291724 -200.90747643 -205.73422242 -210.42595714 -214.9896522 -219.43944505 -223.78391891 -224.81601212 -225.65091432 -226.29805425 -230.11098361 -233.85031498 -237.52044708]
towerse.lc:qdyn | Pa | [ 0. 25.03556999 33.03463265 38.85133848 43.59349489 47.66612124 51.2741406 54.53378247 57.52462372 60.29872034 62.89582405 65.3412827 67.65663414 69.8568578 71.95775738 73.97045927 75.90419606 77.76672562 79.5646385 81.30517225 82.99153738 84.62800896 86.21688852 87.76301767 89.26933271 90.73845562 92.17273887 93.57430227 94.94129702 96.27938811 97.59014997]
towerse.section_A | m**2 | [0.43351757 0.43351757 0.43351757 0.30499421 0.30499421 0.30499421 0.26130324 0.26130324 0.26130324 0.21705782 0.21705782 0.21705782 0.18174573 0.18174573 0.18174573 0.16460814 0.16460814 0.16460814 0.12733706 0.12733706 0.12733706 0.09656648 0.09656648 0.09656648 0.07276911 0.07197539 0.07118168 0.0519823 0.0519823 0.0519823 ]
towerse.section_Asx | m**2 | [0.24691588 0.24691588 0.24691588 0.17351824 0.17351824 0.17351824 0.14860554 0.14860554 0.14860554 0.12339618 0.12339618 0.12339618 0.10329058 0.10329058 0.10329058 0.09353737 0.09353737 0.09353737 0.07233578 0.07233578 0.07233578 0.05484204 0.05484204 0.05484204 0.04131918 0.04086877 0.04041837 0.0295118 0.0295118 0.0295118 ]
towerse.section_Asy | m**2 | [0.24691588 0.24691588 0.24691588 0.17351824 0.17351824 0.17351824 0.14860554 0.14860554 0.14860554 0.12339618 0.12339618 0.12339618 0.10329058 0.10329058 0.10329058 0.09353737 0.09353737 0.09353737 0.07233578 0.07233578 0.07233578 0.05484204 0.05484204 0.05484204 0.04131918 0.04086877 0.04041837 0.0295118 0.0295118 0.0295118 ]
towerse.section_Ixx | kg*m**2 | [0.85305795 0.85305795 0.85305795 0.60307028 0.60307028 0.60307028 0.51752844 0.51752844 0.51752844 0.43061169 0.43061169 0.43061169 0.36103486 0.36103486 0.36103486 0.32720112 0.32720112 0.32720112 0.25346821 0.25346821 0.25346821 0.19243943 0.19243943 0.19243943 0.143572 0.13892512 0.13437961 0.09711575 0.09711575 0.09711575]
towerse.section_Iyy | kg*m**2 | [0.85305795 0.85305795 0.85305795 0.60307028 0.60307028 0.60307028 0.51752844 0.51752844 0.51752844 0.43061169 0.43061169 0.43061169 0.36103486 0.36103486 0.36103486 0.32720112 0.32720112 0.32720112 0.25346821 0.25346821 0.25346821 0.19243943 0.19243943 0.19243943 0.143572 0.13892512 0.13437961 0.09711575 0.09711575 0.09711575]
towerse.section_J0 | kg*m**2 | [1.70611591 1.70611591 1.70611591 1.20614055 1.20614055 1.20614055 1.03505688 1.03505688 1.03505688 0.86122338 0.86122338 0.86122338 0.72206972 0.72206972 0.72206972 0.65440223 0.65440223 0.65440223 0.50693642 0.50693642 0.50693642 0.38487886 0.38487886 0.38487886 0.28714399 0.27785024 0.26875922 0.1942315 0.1942315 0.1942315 ]
towerse.section_rho | kg/m**3 | [8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500. 8500.]
towerse.section_E | Pa | [2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11 2.1e+11]
towerse.section_G | Pa | [8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10 8.07692308e+10]
towerse.tower.rna_F | N | [[ 328840.4044632 ] [ 3744.45008613] [-1138059.49835397]]
towerse.tower.rna_M | N*m | [[ 8679.09070575] [697143.79866306] [186763.1382376 ]]
towerse.Px | N/m | [[0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.]]
towerse.Py | N/m | [[0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.]]
towerse.Pz | N/m | [[ 0. ] [ -49.60868996] [ -69.86783604] [ -84.53616157] [ -96.51910237] [-106.99786649] [-116.51589685] [-125.33418157] [-133.55491077] [-141.26734207] [-148.54858365] [-155.44684271] [-162.0067486 ] [-168.25915341] [-174.24053278] [-179.9763688 ] [-185.48864535] [-190.80056223] [-195.93291724] [-200.90747643] [-205.73422242] [-210.42595714] [-214.9896522 ] [-219.43944505] [-223.78391891] [-224.81601212] [-225.65091432] [-226.29805425] [-230.11098361] [-233.85031498] [-237.52044708]]
towerse.post.cylinder_Fz | N | [[-2329559.52668187] [-2233040.91455475] [-2136476.19816891] [-2068381.07596406] [-2000256.27686225] [-1932105.05755037] [-1873704.16301475] [-1815280.77697617] [-1756836.35915696] [-1708161.85605712] [-1659468.61868149] [-1610757.60008576] [-1569923.79064657] [-1529073.83259711] [-1488208.40781121] [-1451137.42218091] [-1414052.14862158] [-1376953.08861883] [-1348098.49219898] [-1319230.94608405] [-1290350.82392414] [-1268324.78686494] [-1246286.85204036] [-1224237.30876439] [-1207470.27195851] [-1190877.19526122] [-1174458.58520876] [-1162335.43490308] [-1150202.34328425] [-1138059.49835397]]
towerse.post.cylinder_Vx | N | [[328851.08170858] [328870.45742701] [328889.21326482] [328890.45465687] [328907.92691198] [328924.77202146] [328927.80614066] [328943.34771004] [328958.25679736] [328951.73068577] [328965.38895065] [328978.40704538] [328967.52915138] [328979.24539387] [328990.31753712] [328986.35875 ] [328996.14314529] [329005.27792915] [328976.31455884] [328984.1825529 ] [328991.39384951] [328961.47261425] [328967.38658414] [328972.63853688] [328945.17801113] [328948.04610272] [328950.25788965] [328924.0765987 ] [328926.15154986] [328927.50095696]]
towerse.post.cylinder_Vy | N | [[3744.56538602] [3744.77343385] [3744.974416 ] [3744.98711035] [3745.17349199] [3745.35272955] [3745.38394239] [3745.54836941] [3745.70559602] [3745.63426391] [3745.77723535] [3745.91292269] [3745.79513168] [3745.91602739] [3746.02959807] [3745.98448567] [3746.08340836] [3746.17494756] [3745.86797757] [3745.9450641 ] [3746.01468943] [3745.69972993] [3745.75457877] [3745.8019095 ] [3745.51506253] [3745.53640334] [3745.55016095] [3745.2800025 ] [3745.29025791] [3745.2922871 ]]
towerse.post.cylinder_Mxx | N*m | [[-289422.89394497] [-279396.06720038] [-269346.19657017] [-259261.80174198] [-249150.10364246] [-239014.22906085] [-228864.25207173] [-218691.19398221] [-208498.01526265] [-198275.40833322] [-188032.43635622] [-177771.96289144] [-167503.80022528] [-157218.14321303] [-146917.75393542] [-136604.05139391] [-126278.01421939] [-115942.20584485] [-105586.59889497] [ -95219.50599619] [ -84843.57776301] [ -74468.00069508] [ -64082.46468996] [ -53689.82934494] [ -43290.0526267 ] [ -32883.39163922] [ -22472.78944317] [ -12087.87273516] [ -1702.49604348] [ 8679.09132972]]
towerse.post.cylinder_Myy | N*m | [[26954358.54313166] [26073581.90075427] [25190654.12302744] [24304551.2550406 ] [23415887.27073312] [22524948.62205444] [21632619.05640794] [20738103.19842842] [19841672.90888439] [18942503.46247804] [18041378.77368252] [17138562.285319 ] [16234910.82784906] [15329546.48668602] [14422723.83156323] [13514568.47523531] [12605161.63418558] [11694740.48477468] [10782402.1640577 ] [ 9868843.48241222] [ 8954309.46777031] [ 8039581.17769246] [ 7123703.88048035] [ 6206941.21463156] [ 5289246.9678082 ] [ 4370577.25867839] [ 3451188.87640712] [ 2533621.14569952] [ 1615476.83523354] [ 697144.00056796]]
towerse.post.cylinder_Mzz | N*m | [[186776.07891196] [186775.56452089] [186775.04964067] [186779.3372808 ] [186778.82093128] [186778.30435959] [186780.23724522] [186779.72035511] [186779.20326879] [186781.85559775] [186781.33696835] [186780.81814222] [186783.63375487] [186783.11412388] [186782.59429029] [186784.0459392 ] [186783.52507552] [186783.00401399] [186788.14559007] [186787.62148242] [186787.09714249] [186794.04108437] [186793.51349301] [186792.98561964] [186802.04761401] [186801.93788812] [186801.8313719 ] [186815.39577787] [186814.85620887] [186814.31620052]]
towerse.qdyn | Pa | [[ 0. ] [25.03556999] [33.03463265] [38.85133848] [43.59349489] [47.66612124] [51.2741406 ] [54.53378247] [57.52462372] [60.29872034] [62.89582405] [65.3412827 ] [67.65663414] [69.8568578 ] [71.95775738] [73.97045927] [75.90419606] [77.76672562] [79.5646385 ] [81.30517225] [82.99153738] [84.62800896] [86.21688852] [87.76301767] [89.26933271] [90.73845562] [92.17273887] [93.57430227] [94.94129702] [96.27938811] [97.59014997]]
tcc.blade_mass | kg | [0.]
tcc.blade_mass_cost_coeff | USD/kg | [14.6]
tcc.blade_cost_external | USD | [0.]
tcc.hub_mass | kg | [0.]
tcc.hub_mass_cost_coeff | USD/kg | [3.9]
tcc.pitch_system_mass | kg | [0.]
tcc.pitch_system_mass_cost_coeff | USD/kg | [22.1]
tcc.spinner_mass | kg | [0.]
tcc.spinner_mass_cost_coeff | USD/kg | [11.1]
tcc.hub_cost | USD | [0.]
tcc.pitch_system_cost | USD | [0.]
tcc.spinner_cost | USD | [0.]
tcc.hub_assemblyCostMultiplier |  | [0.]
tcc.hub_overheadCostMultiplier |  | [0.]
tcc.hub_profitMultiplier |  | [0.]
tcc.hub_transportMultiplier |  | [0.]
tcc.blade_cost | USD | [0.]
tcc.hub_system_cost | USD | [0.]
tcc.hub_system_mass_tcc | kg | [0.]
tcc.blade_number | Unavailable | 3
tcc.lss_mass | kg | [0.]
tcc.lss_mass_cost_coeff | USD/kg | [11.9]
tcc.main_bearing_mass | kg | [0.]
tcc.bearing_mass_cost_coeff | USD/kg | [4.5]
tcc.gearbox_mass | kg | [0.]
tcc.gearbox_mass_cost_coeff | USD/kg | [12.9]
tcc.hss_mass | kg | [0.]
tcc.hss_mass_cost_coeff | USD/kg | [6.8]
tcc.brake_mass | kg | [0.]
tcc.brake_mass_cost_coeff | USD/kg | [3.6254]
tcc.generator_mass | kg | [0.]
tcc.generator_mass_cost_coeff | USD/kg | [12.4]
tcc.generator_cost_external | USD | [0.]
tcc.bedplate_mass | kg | [0.]
tcc.bedplate_mass_cost_coeff | USD/kg | [2.9]
tcc.yaw_mass | kg | [0.]
tcc.yaw_mass_cost_coeff | USD/kg | [8.3]
tcc.hvac_mass | kg | [0.]
tcc.hvac_mass_cost_coeff | USD/kg | [124.]
tcc.machine_rating | kW | [1680.]
tcc.controls_machine_rating_cost_coeff | USD/kW | [21.15]
tcc.converter_mass | kg | [0.]
tcc.converter_mass_cost_coeff | USD/kg | [18.8]
tcc.elec_connec_machine_rating_cost_coeff | USD/kW | [41.85]
tcc.cover_mass | kg | [0.]
tcc.cover_mass_cost_coeff | USD/kg | [5.7]
tcc.platforms_mass | kg | [0.]
tcc.platforms_mass_cost_coeff | USD/kg | [17.1]
tcc.crane_cost | USD | [12000.]
tcc.crane | Unavailable | FALSE
tcc.transformer_mass | kg | [0.]
tcc.transformer_mass_cost_coeff | USD/kg | [18.8]
tcc.lss_cost | USD | [0.]
tcc.main_bearing_cost | USD | [0.]
tcc.gearbox_cost | USD | [0.]
tcc.hss_cost | USD | [0.]
tcc.brake_cost | USD | [0.]
tcc.generator_cost | USD | [0.]
tcc.bedplate_cost | USD | [0.]
tcc.yaw_system_cost | USD | [0.]
tcc.converter_cost | USD | [0.]
tcc.hvac_cost | USD | [0.]
tcc.cover_cost | USD | [0.]
tcc.elec_cost | USD | [70308.]
tcc.controls_cost | USD | [35532.]
tcc.platforms_cost | USD | [0.]
tcc.transformer_cost | USD | [0.]
tcc.nacelle_assemblyCostMultiplier |  | [0.]
tcc.nacelle_overheadCostMultiplier |  | [0.]
tcc.nacelle_profitMultiplier |  | [0.]
tcc.nacelle_transportMultiplier |  | [0.]
tcc.main_bearing_number | Unavailable | 2
tcc.tower_mass | kg | [129985.04806975]
tcc.tower_mass_cost_coeff | USD/kg | [2.9]
tcc.tower_cost_external | USD | [328094.42563997]
tcc.tower_parts_cost | USD | [328094.42563997]
tcc.tower_assemblyCostMultiplier |  | [0.]
tcc.tower_overheadCostMultiplier |  | [0.]
tcc.tower_profitMultiplier |  | [0.]
tcc.tower_transportMultiplier |  | [0.]
tcc.rotor_cost | USD | [0.]
tcc.rotor_mass_tcc | kg | [0.]
tcc.nacelle_cost | USD | [105840.]
tcc.nacelle_mass_tcc | kg | [0.]
tcc.tower_cost | USD | [328094.42563997]
tcc.turbine_assemblyCostMultiplier |  | [0.]
tcc.turbine_overheadCostMultiplier |  | [0.]
tcc.turbine_profitMultiplier |  | [0.]
tcc.turbine_transportMultiplier |  | [0.]
tcc.turbine_cost | USD | [433934.42563997]
tcc.turbine_cost_kW | USD/kW | [258.29430098]
tcc.turbine_mass_tcc | kg | [129985.04806975]
materials.E | Pa | [[4.560e+06 4.560e+06 4.560e+06] [2.179e+10 1.467e+10 1.467e+10] [1.392e+10 1.392e+10 1.392e+10] [4.200e+10 1.230e+10 1.230e+10] [5.000e+07 5.000e+07 5.000e+07] [5.000e+07 5.000e+07 5.000e+07] [4.560e+06 4.560e+06 4.560e+06] [1.000e+06 1.000e+06 1.000e+06] [2.100e+11 2.100e+11 2.100e+11]] | 2D array of the Youngs moduli of the materials. Each row represents a material, the three columns represent E11, E22 and E33.
materials.G | Pa | [[1.52000000e+06 1.52000000e+06 1.52000000e+06] [9.41300000e+09 9.41300000e+09 9.41300000e+09] [1.15000000e+10 1.15000000e+10 1.15000000e+10] [3.47000000e+09 3.47000000e+09 3.47000000e+09] [1.66666667e+07 1.66666667e+07 1.66666667e+07] [1.66666667e+07 1.66666667e+07 1.66666667e+07] [1.52000000e+06 1.52000000e+06 1.52000000e+06] [3.84615385e+05 3.84615385e+05 3.84615385e+05] [8.07692308e+10 8.07692308e+10 8.07692308e+10]] | 2D array of the shear moduli of the materials. Each row represents a material, the three columns represent G12, G13 and G23.
materials.nu |  | [[0.49 0.49 0.49] [0.48 0.48 0.48] [0.49 0.49 0.49] [0.31 0.31 0.31] [0.49 0.49 0.49] [0.49 0.49 0.49] [0.49 0.49 0.49] [0.3 0.3 0.3 ] [0.3 0.3 0.3 ]] | 2D array of the Poisson ratio of the materials. Each row represents a material, the three columns represent nu12, nu13 and nu23.
materials.Xt | Pa | [[0.00e+00 0.00e+00 0.00e+00] [6.00e+08 6.00e+08 6.00e+08] [6.00e+08 6.00e+08 6.00e+08] [6.00e+08 6.00e+08 6.00e+08] [6.90e+05 6.90e+05 6.90e+05] [6.90e+05 6.90e+05 6.90e+05] [6.90e+05 6.90e+05 6.90e+05] [0.00e+00 0.00e+00 0.00e+00] [3.55e+08 3.55e+08 3.55e+08]] | 2D array of the Ultimate Tensile Strength (UTS) of the materials. Each row represents a material, the three columns represent Xt12, Xt13 and Xt23.
materials.Xc | Pa | [[0.00e+00 0.00e+00 0.00e+00] [6.00e+08 6.00e+08 6.00e+08] [6.00e+08 6.00e+08 6.00e+08] [6.00e+08 6.00e+08 6.00e+08] [4.00e+05 4.00e+05 4.00e+05] [4.00e+05 4.00e+05 4.00e+05] [4.00e+05 4.00e+05 4.00e+05] [0.00e+00 0.00e+00 0.00e+00] [3.55e+08 3.55e+08 3.55e+08]] | 2D array of the Ultimate Compressive Strength (UCS) of the materials. Each row represents a material, the three columns represent Xc12, Xc13 and Xc23.
materials.S | Pa | [[0.0e+00 0.0e+00 0.0e+00] [5.0e+08 2.0e+08 2.0e+08] [5.0e+08 2.0e+08 2.0e+08] [5.0e+08 2.0e+08 2.0e+08] [3.1e+05 3.1e+05 3.1e+05] [3.1e+05 3.1e+05 3.1e+05] [3.1e+05 3.1e+05 3.1e+05] [0.0e+00 0.0e+00 0.0e+00] [0.0e+00 0.0e+00 0.0e+00]] | 2D array of the Ultimate Shear Strength (USS) of the materials. Each row represents a material, the three columns represent S12, S13 and S23.
materials.sigma_y | Pa | [0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 0.0e+00 4.5e+08] | Yield stress of the material (in the principle direction for composites).
materials.wohler_exp |  | [1. 1. 1. 1. 1. 1. 1. 1. 1.] | Exponent of S-N Wohler fatigue curve in the form of S = A*N^-(1/m).
materials.wohler_intercept |  | [0.00e+00 6.00e+08 6.00e+08 6.00e+08 6.90e+05 6.90e+05 6.90e+05 0.00e+00 3.55e+08] | Stress-intercept (A) of S-N Wohler fatigue curve in the form of S = A*N^-(1/m), taken as ultimate stress unless otherwise specified.
materials.unit_cost | USD/kg | [ 7.23 2.86 3. 1.87 13. 13. 0. 3.63 0. ] | 1D array of the unit costs of the materials.
materials.waste |  | [0.25 0.15 0.15 0.05 0.2 0.2 0. 0.2 0. ] | 1D array of the non-dimensional waste fraction of the materials.
materials.roll_mass | kg | [ 0. 181.4368 181.4368 0. 0. 0. 0. 0. 0. ] | 1D array of the roll mass of the composite fabrics. Non-composite materials are kept at 0.
materials.orth | Unavailable | [0. 1. 1. 1. 0. 0. 0. 0. 0.] | 1D array of flags to set whether a material is isotropic (0) or orthtropic (1). Each entry represents a material.
materials.ply_t | m | [0. 0.00089237 0.00089237 0.0013116 0. 0. 0. 0. 0. ] | 1D array of the ply thicknesses of the materials. Non-composite materials are kept at 0.
materials.fvf |  | [0. 0.4793 0.4793 0.5448 0. 0. 0. 0. 0. ] | 1D array of the non-dimensional fiber volume fraction of the composite materials. Non-composite materials are kept at 0.
materials.fwf |  | [0. 0.6754 0.6754 0.7302 0. 0. 0. 0. 0. ] | 1D array of the non-dimensional fiber weight- fraction of the composite materials. Non-composite materials are kept at 0.
airfoils.ac |  | [0.25 0.25 0.25 0.25 0.25 0.25 0.5 ] | 1D array of the aerodynamic centers of each airfoil.
airfoils.r_thick |  | [0.21 0.25 0.3 0.35 0.4 0.5 1. ] | 1D array of the relative thicknesses of each airfoil.
airfoils.aoa | rad | [-3.14159265 -3.08923278 -3.0368729 -2.98451302 -2.93215314 -2.87979327 -2.82743339 -2.77507351 -2.72271363 -2.67035376 -2.61799388 -2.565634 -2.51327412 -2.46091425 -2.40855437 -2.35619449 -2.30383461 -2.25147474 -2.19911486 -2.14675498 -2.0943951 -2.04203522 -1.98967535 -1.93731547 -1.88495559 -1.83259571 -1.78023584 -1.72787596 -1.67551608 -1.6231562 -1.57079633 -1.51843645 -1.46607657 -1.41371669 -1.36135682 -1.30899694 -1.25663706 -1.20427718 -1.15191731 -1.09955743 -1.04719755 -0.99483767 -0.9424778 -0.89011792 -0.83775804 -0.78539816 -0.73303829 -0.68067841 -0.62831853 -0.57595865 -0.52359878 -0.51302102 -0.50244327 -0.49186552 -0.48128776 -0.47071001 -0.46013226 -0.4495545 -0.43897675 -0.428399 -0.41782125 -0.40724349 -0.39666574 -0.38608799 -0.37551023 -0.36493248 -0.35435473 -0.34377697 -0.33319922 -0.32262147 -0.31204371 -0.30146596 -0.29088821 -0.28031046 -0.2697327 -0.25915495 -0.2485772 -0.23799944 -0.22742169 -0.21684394 -0.20626618 -0.19568843 -0.18511068 -0.17453293 -0.16395517 -0.15337742 -0.14279967 -0.13222191 -0.12164416 -0.11106641 -0.10048865 -0.0899109 -0.07933315 -0.06875539 -0.05817764 -0.04759989 -0.03702214 -0.02644438 -0.01586663 -0.00528888 0.00528888 0.01586663 0.02644438 0.03702214 0.04759989 0.05817764 0.06875539 0.07933315 0.0899109 0.10048865 0.11106641 0.12164416 0.13222191 0.14279967 0.15337742 0.16395517 0.17453293 0.18511068 0.19568843 0.20626618 0.21684394 0.22742169 0.23799944 0.2485772 0.25915495 0.2697327 0.28031046 0.29088821 0.30146596 0.31204371 0.32262147 0.33319922 0.34377697 0.35435473 0.36493248 0.37551023 0.38608799 0.39666574 0.40724349 0.41782125 0.428399 0.43897675 0.4495545 0.46013226 0.47071001 0.48128776 0.49186552 0.50244327 0.51302102 0.52359878 0.57595865 0.62831853 0.68067841 0.73303829 0.78539816 0.83775804 0.89011792 0.9424778 0.99483767 1.04719755 1.09955743 1.15191731 1.20427718 1.25663706 1.30899694 1.36135682 1.41371669 1.46607657 1.51843645 1.57079633 1.6231562 1.67551608 1.72787596 1.78023584 1.83259571 1.88495559 1.93731547 1.98967535 2.04203522 2.0943951 2.14675498 2.19911486 2.25147474 2.30383461 2.35619449 2.40855437 2.46091425 2.51327412 2.565634 2.61799388 2.67035376 2.72271363 2.77507351 2.82743339 2.87979327 2.93215314 2.98451302 3.0368729 3.08923278 3.14159265] | 1D array of the angles of attack used to define the polars of the airfoils. All airfoils defined in openmdao share this grid.
airfoils.Re |  | [6000000.] | 1D array of the Reynolds numbers used to define the polars of the airfoils. All airfoils defined in openmdao share this grid.
airfoils.cl |  | [[[[ 0. ]] [[ 0.14947178]] [[ 0.30031292]] ... [[-0.28168874]] [[-0.14020225]] [[ 0. ]]] [[[ 0. ]] [[ 0.10838901]] [[ 0.2177708 ]] ... [[-0.20713181]] [[-0.10309367]] [[ 0. ]]] [[[ 0. ]] [[ 0.10930581]] [[ 0.21961299]] ... [[-0.2089772 ]] [[-0.10401226]] [[ 0. ]]] ... [[[ 0. ]] [[ 0.14719561]] [[ 0.29573972]] ... [[-0.29573972]] [[-0.14719561]] [[ 0. ]]] [[[ 0. ]] [[ 0.13139799]] [[ 0.26399975]] ... [[-0.26399975]] [[-0.13139799]] [[ 0. ]]] [[[ 0. ]] [[ 0. ]] [[ 0. ]] ... [[ 0. ]] [[ 0. ]] [[ 0. ]]]] | 4D array with the lift coefficients of the airfoils. Dimension 0 is along the different airfoils defined in the yaml, dimension 1 is along the angles of attack, dimension 2 is along the Reynolds number, dimension 3 is along the number of tabs, which may describe multiple sets at the same station, for example in presence of a flap.
airfoils.cd |  | [[[[0.037696 ]] [[0.037696 ]] [[0.04523516]] ... [[0.04705176]] [[0.03860026]] [[0.037696 ]]] [[[0.056205 ]] [[0.056205 ]] [[0.06744594]] ... [[0.06885594]] [[0.05690678]] [[0.056205 ]]] [[[0.046744 ]] [[0.046744 ]] [[0.05609275]] ... [[0.05784935]] [[0.04761839]] [[0.046744 ]]] ... [[[0.01 ]] [[0.01 ]] [[0.01 ]] ... [[0.01 ]] [[0.01 ]] [[0.01 ]]] [[[0.1546 ]] [[0.16550006]] [[0.17649998]] ... [[0.17649998]] [[0.16550006]] [[0.1546 ]]] [[[0.5 ]] [[0.5 ]] [[0.5 ]] ... [[0.5 ]] [[0.5 ]] [[0.5 ]]]] | 4D array with the drag coefficients of the airfoils. Dimension 0 is along the different airfoils defined in the yaml, dimension 1 is along the angles of attack, dimension 2 is along the Reynolds number, dimension 3 is along the number of tabs, which may describe multiple sets at the same station, for example in presence of a flap.
airfoils.cm |  | [[[[ 0.2 ]] [[ 0.2 ]] [[ 0.23999977]] ... [[-0.29999972]] [[-0.06876861]] [[ 0.2 ]]] [[[ 0. ]] [[ 0.11945272]] [[ 0.23999977]] ... [[-0.29999972]] [[-0.1493159 ]] [[ 0. ]]] [[[ 0. ]] [[ 0.11945272]] [[ 0.23999977]] ... [[-0.29999972]] [[-0.1493159 ]] [[ 0. ]]] ... [[[ 0. ]] [[ 0.11945272]] [[ 0.23999977]] ... [[-0.29999972]] [[-0.1493159 ]] [[ 0. ]]] [[[ 0. ]] [[ 0.11945272]] [[ 0.23999977]] ... [[-0.29999972]] [[-0.1493159 ]] [[ 0. ]]] [[[ 0. ]] [[ 0. ]] [[ 0. ]] ... [[ 0. ]] [[ 0. ]] [[ 0. ]]]] | 4D array with the moment coefficients of the airfoils. Dimension 0 is along the different airfoils defined in the yaml, dimension 1 is along the angles of attack, dimension 2 is along the Reynolds number, dimension 3 is along the number of tabs, which may describe multiple sets at the same station, for example in presence of a flap.
airfoils.coord_xy |  | [[[ 1.00000000e+00 -1.39000116e-03] [ 9.76041164e-01 1.45768394e-03] [ 9.52121911e-01 4.43485592e-03] ... [ 9.53145851e-01 1.32310193e-02] [ 9.76587857e-01 7.41908181e-03] [ 1.00000000e+00 1.39000116e-03]] [[ 1.00000000e+00 0.00000000e+00] [ 9.76929663e-01 5.57238853e-04] [ 9.54063957e-01 4.51429912e-03] ... [ 9.57409548e-01 1.48735183e-02] [ 9.79378651e-01 9.07063465e-03] [ 1.00000000e+00 7.04731414e-19]] [[ 1.00000000e+00 -8.70000000e-03] [ 9.75166764e-01 -3.19401804e-03] [ 9.49926694e-01 -2.39196736e-04] ... [ 9.53041209e-01 2.12373413e-02] [ 9.76543751e-01 1.51021375e-02] [ 1.00000000e+00 8.70000000e-03]] ... [[ 1.00000000e+00 -6.20000627e-02] [ 9.97623314e-01 -8.10161701e-02] [ 9.92090785e-01 -9.12693802e-02] ... [ 9.96942317e-01 -1.14556419e-02] [ 9.99186413e-01 -2.83283436e-02] [ 1.00000000e+00 -4.70000475e-02]] [[ 1.00000000e+00 -8.40013004e-02] [ 9.95824148e-01 -9.98470875e-02] [ 9.91908208e-01 -1.15746094e-01] ... [ 9.96445316e-01 -2.03823373e-02] [ 9.98197884e-01 -3.96907249e-02] [ 1.00000000e+00 -5.90009134e-02]] [[ 1.00000000e+00 0.00000000e+00] [ 9.99492456e-01 -2.24148318e-02] [ 9.97998443e-01 -4.47793323e-02] ... [ 9.98052103e-01 4.41573285e-02] [ 9.99507691e-01 2.21028728e-02] [ 1.00000000e+00 -4.69894578e-19]]] | 3D array of the x and y airfoil coordinates of the n_af airfoils.
airfoils.name | Unavailable | ['DU08-W-210', 'DU91-W2-250', 'DU97-W-300', 'DU00-W2-350', 'FX77-W-400', 'FX77-W-500', 'cylinder'] | 1D array of names of airfoils.
configuration.rated_power | W | [1680000.] | Electrical rated power of the generator.
configuration.lifetime | year | [25.] | Turbine design lifetime.
configuration.rotor_diameter_user | m | [82.5] | Diameter of the rotor specified by the user. It is defined as two times the blade length plus the hub diameter.
configuration.hub_height_user | m | [80.] | Height of the hub center over the ground (land-based) or the mean sea level (offshore) specified by the user.
configuration.ws_class | Unavailable | III | IEC wind turbine class. I - offshore, II coastal, III - land-based, IV - low wind speed site.
configuration.turb_class | Unavailable | A | IEC wind turbine category. A - high turbulence intensity (land-based), B - mid turbulence, C - low turbulence (offshore).
configuration.gearbox_type | Unavailable | geared | Gearbox configuration (geared, direct-drive, etc.).
configuration.rotor_orientation | Unavailable | upwind | Rotor orientation, either upwind or downwind.
configuration.upwind | Unavailable | TRUE | Convenient boolean for upwind (True) or downwind (False).
configuration.n_blades | Unavailable | 3 | Number of blades of the rotor.
control.V_in | m/s | [3.] | Cut in wind speed. This is the wind speed where region II begins.
control.V_out | m/s | [25.] | Cut out wind speed. This is the wind speed where region III ends.
control.minOmega | rad/s | [0.83775804] | Minimum allowed rotor speed.
control.maxOmega | rad/s | [1.65048544] | Maximum allowed rotor speed.
control.max_TS | m/s | [80.] | Maximum allowed blade tip speed.
control.max_pitch_rate | rad/s | [0.12217305] | Maximum allowed blade pitch rate
control.max_torque_rate | N*m/s | [1500000.] | Maximum allowed generator torque rate
control.rated_TSR |  | [9.] | Constant tip speed ratio in region II.
control.rated_pitch | rad | [0.] | Constant pitch angle in region II.
tower.ref_axis | m | [[ 0. 0. 0. ] [ 0. 0. 10.8 ] [ 0. 0. 21.61] [ 0. 0. 32.41] [ 0. 0. 43.22] [ 0. 0. 54.02] [ 0. 0. 64.82] [ 0. 0. 75.63] [ 0. 0. 86.43] [ 0. 0. 97.23] [ 0. 0. 108. ]] | 2D array of the coordinates (x,y,z) of the tower reference axis. The coordinate system is the global coordinate system of OpenFAST: it is placed at tower base with x pointing downwind, y pointing on the side and z pointing vertically upwards. A standard tower configuration will have zero x and y values and positive z values.
tower.diameter | m | [4. 4. 4. 4. 4. 4. 4. 4. 4. 3.87 3.87] | 1D array of the outer diameter values defined along the tower axis.
tower.cd |  | [0.5 0.5 0.5 0.5 0.5 0.5 0.5 0.5 0.5 0.5 0.5] | 1D array of the drag coefficients defined along the tower height.
tower.layer_thickness | m | [[0.04008507 0.02492591 0.02070004 0.01835766 0.01405952 0.01306585 0.01149385 0.0074917 0.00689777 0.004 0.004 ]] | 2D array of the thickness of the layers of the tower structure. The first dimension represents each layer, the second dimension represents each piecewise-constant entry of the tower sections.
tower.outfitting_factor |  | [1.07] | Multiplier that accounts for secondary structure mass inside of tower
tower.layer_name | Unavailable | ['tower_wall'] | 1D array of the names of the layers modeled in the tower structure.
tower.layer_mat | Unavailable | ['steel'] | 1D array of the names of the materials of each layer modeled in the tower structure.
env.rho_air | kg/m**3 | [1.225] | Density of air
env.mu_air | kg/m/s | [1.81e-05] | Dynamic viscosity of air
env.shear_exp |  | [0.2] | Shear exponent of the wind.
env.speed_sound_air | m/s | [340.] | Speed of sound in air.
env.weibull_k |  | [2.] | Shape parameter of the Weibull probability density function of the wind.
env.rho_water | kg/m**3 | [1025.] | Density of ocean water
env.mu_water | kg/m/s | [0.0013351] | Dynamic viscosity of ocean water
env.water_depth | m | [0.] | Water depth for analysis. Values > 0 mean offshore
env.Hsig_wave | m | [0.] | Significant wave height
env.Tsig_wave | s | [0.] | Significant wave period
env.G_soil | N/m**2 | [1.4e+08] | Shear stress of soil
env.nu_soil |  | [0.4] | Poisson ratio of soil
costs.offset_tcc_per_kW | USD/kW | [0.] | Offset to turbine capital cost
costs.bos_per_kW | USD/kW | [459.] | Balance of station/plant capital cost
costs.opex_per_kW | USD/kW/year | [44.] | Average annual operational expenditures of the turbine
costs.wake_loss_factor |  | [0.15] | The losses in AEP due to waked conditions
costs.fixed_charge_rate |  | [0.075] | Fixed charge rate for coe calculation
costs.labor_rate | USD/h | [58.8]
costs.painting_rate | USD/m**2 | [30.]
costs.blade_mass_cost_coeff | USD/kg | [14.6]
costs.hub_mass_cost_coeff | USD/kg | [3.9]
costs.pitch_system_mass_cost_coeff | USD/kg | [22.1]
costs.spinner_mass_cost_coeff | USD/kg | [11.1]
costs.lss_mass_cost_coeff | USD/kg | [11.9]
costs.bearing_mass_cost_coeff | USD/kg | [4.5]
costs.gearbox_mass_cost_coeff | USD/kg | [12.9]
costs.hss_mass_cost_coeff | USD/kg | [6.8]
costs.generator_mass_cost_coeff | USD/kg | [12.4]
costs.bedplate_mass_cost_coeff | USD/kg | [2.9]
costs.yaw_mass_cost_coeff | USD/kg | [8.3]
costs.converter_mass_cost_coeff | USD/kg | [18.8]
costs.transformer_mass_cost_coeff | USD/kg | [18.8]
costs.hvac_mass_cost_coeff | USD/kg | [124.]
costs.cover_mass_cost_coeff | USD/kg | [5.7]
costs.elec_connec_machine_rating_cost_coeff | USD/kW | [41.85]
costs.platforms_mass_cost_coeff | USD/kg | [17.1]
costs.tower_mass_cost_coeff | USD/kg | [2.9]
costs.controls_machine_rating_cost_coeff | USD/kW | [21.15]
costs.crane_cost | USD | [12000.]
costs.electricity_price | USD/kW/h | [0.04]
costs.reserve_margin_price | USD/kW/year | [120.]
costs.capacity_credit |  | [0.]
costs.benchmark_price | USD/kW/h | [0.071]
costs.turbine_number | Unavailable | 178 | Number of turbines at plant
high_level_tower_props.tower_ref_axis | m | [[ 0. 0. 0. ] [ 0. 0. 8. ] [ 0. 0. 16.00740741] [ 0. 0. 24.00740741] [ 0. 0. 32.01481481] [ 0. 0. 40.01481481] [ 0. 0. 48.01481481] [ 0. 0. 56.02222222] [ 0. 0. 64.02222222] [ 0. 0. 72.02222222] [ 0. 0. 80. ]] | 2D array of the coordinates (x,y,z) of the tower reference axis. The coordinate system is the global coordinate system of OpenFAST: it is placed at tower base with x pointing downwind, y pointing on the side and z pointing vertically upwards. A standard tower configuration will have zero x and y values and positive z values.
high_level_tower_props.hub_height | m | [80.] | Height of the hub in the global reference system, i.e. distance rotor center to ground.
tower_grid.s |  | [0. 0.1 0.20009259 0.30009259 0.40018519 0.50018519 0.60018519 0.70027778 0.80027778 0.90027778 1. ] | 1D array of the non-dimensional grid defined along the tower axis (0-tower base, 1-tower top)
tower_grid.height | m | [80.] | Scalar of the tower height computed along the z axis.
tower_grid.length | m | [80.] | Scalar of the tower length computed along its curved axis. A standard straight tower will be as high as long.
tower_grid.foundation_height | m | [0.] | Foundation height in respect to the ground level.
towerse.height_constraint | m | [0.]
towerse.transition_piece_height | m | [0.]
towerse.z_start | m | [0.]
towerse.tower_section_height | m | [8. 8.00740741 8. 8.00740741 8. 8. 8.00740741 8. 8. 7.97777778]
towerse.member.sigma_ult | Pa | [3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08]
towerse.member.wohler_exp |  | [1. 1. 1. 1. 1. 1. 1. 1. 1. 1.]
towerse.member.wohler_A |  | [3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08 3.55e+08]
towerse.member.ballast_density | kg/m**3 | []
towerse.member.ballast_unit_cost | USD/kg | []
towerse.z_param | m | [ 0. 8. 16.00740741 24.00740741 32.01481481 40.01481481 48.01481481 56.02222222 64.02222222 72.02222222 80. ]
towerse.member.sec_loc |  | [0. 0.1111454 0.2222908 0.3334362 0.4445816 0.55567556 0.66682096 0.77796636 0.88906033 1. ] | normalized sectional location
towerse.member.str_tw | deg | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0.] | structural twist of section
towerse.member.tw_iner | deg | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0.] | inertial twist of section
towerse.member.mass_den | kg/m | [3684.8993436 2592.4507836 2221.07753705 1844.99144243 1544.83870472 1399.16916492 1082.36501424 820.81504476 611.79085055 441.84955009] | sectional mass per unit length
towerse.member.foreaft_iner | kg*m | [7250.99260052 5126.09734999 4398.99175108 3660.19935657 3068.79629295 2781.20949256 2154.47976747 1635.73516771 1180.86353296 825.48387549] | sectional fore-aft intertia per unit length about the Y_G inertia axis
towerse.member.sideside_iner | kg*m | [7250.99260052 5126.09734999 4398.99175108 3660.19935657 3068.79629295 2781.20949256 2154.47976747 1635.73516771 1180.86353296 825.48387549] | sectional side-side intertia per unit length about the Y_G inertia axis
towerse.member.foreaft_stff | N*m**2 | [1.67422589e+11 1.18359587e+11 1.01571002e+11 8.45125745e+10 7.08573086e+10 6.42170416e+10 4.97460969e+10 3.77684866e+10 2.72656781e+10 1.90601005e+10] | sectional fore-aft bending stiffness per unit length about the Y_E elastic axis
towerse.member.sideside_stff | N*m**2 | [1.67422589e+11 1.18359587e+11 1.01571002e+11 8.45125745e+10 7.08573086e+10 6.42170416e+10 4.97460969e+10 3.77684866e+10 2.72656781e+10 1.90601005e+10] | sectional side-side bending stiffness per unit length about the Y_E elastic axis
towerse.member.tor_stff | N*m**2 | [1.28786607e+11 9.10458361e+10 7.81315404e+10 6.50096727e+10 5.45056220e+10 4.93977243e+10 3.82662284e+10 2.90526820e+10 2.09735985e+10 1.46616158e+10] | sectional torsional stiffness
towerse.member.axial_stff | N | [8.50828875e+10 5.98586767e+10 5.12838134e+10 4.26001323e+10 3.56697227e+10 3.23062699e+10 2.49913857e+10 1.89522990e+10 1.41260119e+10 1.02021336e+10] | sectional axial stiffness
towerse.member.cg_offst | m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0.] | offset from the sectional center of mass
towerse.member.sc_offst | m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0.] | offset from the sectional shear center
towerse.member.tc_offst | m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0.] | offset from the sectional tension center
towerse.member.axial_load2stress | m**2 | [[ 0. 0. 2.46818139 2.50862206 2.50862206 0. ] [ 0. 0. 3.50826332 3.5485085 3.5485085 0. ] [ 0. 0. 4.0948593 4.13503844 4.13503844 0. ] [ 0. 0. 4.92956216 4.96967466 4.96967466 0. ] [ 0. 0. 5.88734602 5.92740549 5.92740549 0. ] [ 0. 0. 6.50028619 6.54031998 6.54031998 0. ] [ 0. 0. 8.4028954 8.44287344 8.44287344 0. ] [ 0. 0. 11.08044992 11.12038205 11.12038205 0. ] [ 0. 0. 14.86619159 15.15366679 15.15366679 0. ] [ 0. 0. 20.58392953 21.31940492 21.31940492 0. ]]
towerse.member.shear_load2stress | m**2 | [[ 4.04996233 4.04996233 0. 0. 0. 1.25431103] [ 5.76308296 5.76308296 0. 0. 0. 1.77425425] [ 6.72922414 6.72922414 0. 0. 0. 2.06751922] [ 8.10397874 8.10397874 0. 0. 0. 2.48483733] [ 9.68142515 9.68142515 0. 0. 0. 2.96370275] [10.69091458 10.69091458 0. 0. 0. 3.27015999] [13.82441741 13.82441741 0. 0. 0. 4.22143672] [18.23418528 18.23418528 0. 0. 0. 5.56019103] [24.46855824 24.46855824 0. 0. 0. 7.57683339] [33.88475094 33.88475094 0. 0. 0. 10.65970246]]
towerse.constr_d_to_t |  | [123.05613563 175.33881255 204.82517195 246.78275164 294.92688589 325.73694203 421.37321252 555.96235933 722.166399 967.5 ]
towerse.constr_taper |  | [1. 1. 1. 1. 1. 1. 1. 1. 0.9675 1. ]
towerse.slope |  | [1. 1. 1. 1. 1. 1. 1. 1. 0.9675 1. ]
towerse.thickness_slope |  | [0.70181915 0.85604133 0.82998172 0.83675909 0.9054143 0.77303666 0.7579168 0.75734342 0.73409545]
towerse.member.nu_full |  | [0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3 0.3]
towerse.member.nodes_r | m | [2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 2. 1.97833333 1.95666667 1.935 1.935 1.935 1.935 ]
towerse.member.center_of_buoyancy | m | [0. 0. 0.]
towerse.member.displacement | m**3 | [0.]
towerse.member.buoyancy_force | N | [0.]
towerse.member.idx_cb |  | [0.]
towerse.member.Awater | m**2 | [0.]
towerse.member.Iwater | m**4 | [0.]
towerse.member.added_mass | kg | [0. 0. 0. 0. 0. 0.]
towerse.member.waterline_centroid | m | [0. 0.]
towerse.member.z_dim | m | [ 0. 2.66666667 5.33333333 8. 10.6691358 13.3382716 16.00740741 18.67407407 21.34074074 24.00740741 26.67654321 29.34567901 32.01481481 34.68148148 37.34814815 40.01481481 42.68148148 45.34814815 48.01481481 50.68395062 53.35308642 56.02222222 58.68888889 61.35555556 64.02222222 66.68888889 69.35555556 72.02222222 74.68148148 77.34074074 80. ]
towerse.member.d_eff | m | [4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 3.95666667 3.91333333 3.87 3.87 3.87 3.87 ]
towerse.tower_cost | USD | [328094.42563997]
towerse.member.section_D | m | [4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 4. 3.97833333 3.935 3.89166667 3.87 3.87 3.87 ]
towerse.member.section_t | m | [0.03478087 0.03478087 0.03478087 0.02440988 0.02440988 0.02440988 0.02089587 0.02089587 0.02089587 0.01734319 0.01734319 0.01734319 0.01451207 0.01451207 0.01451207 0.01313944 0.01313944 0.01313944 0.01015727 0.01015727 0.01015727 0.00769836 0.00769836 0.00769836 0.0058303 0.0058303 0.0058303 0.00428 0.00428 0.00428 ]
towerse.member.section_sigma_y | Pa | [4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08 4.5e+08]
towerse.turbine_mass | kg | [268345.91681209]
towerse.turbine_center_of_mass | m | [-4.68384773e-01 -3.34633418e-02 5.48352161e+01]
towerse.turbine_I_base | kg*m**2 | [ 1.04021318e+09 1.04094662e+09 5.01868492e+06 -8.14950576e+00 1.90652386e+05 5.54821071e+03]
towerse.env.wind.U | m/s | [ 0. 6.393309 7.34398353 7.96434283 8.43641232 8.82169138 9.14947444 9.43582253 9.69111722 9.92204063 10.13346237 10.32858389 10.50998624 10.67951369 10.83891382 10.98945389 11.13217041 11.26792273 11.39743175 11.52142085 11.64029156 11.75449607 11.8643275 11.9702364 12.07252456 12.17145913 12.26727779 12.360193 12.45014856 12.53757703 12.62263273]
towerse.env.windLoads.windLoads_Px | N/m | [ 0. 49.60868996 69.86783604 84.53616157 96.51910237 106.99786649 116.51589685 125.33418157 133.55491077 141.26734207 148.54858365 155.44684271 162.0067486 168.25915341 174.24053278 179.9763688 185.48864535 190.80056223 195.93291724 200.90747643 205.73422242 210.42595714 214.9896522 219.43944505 223.78391891 224.81601212 225.65091432 226.29805425 230.11098361 233.85031498 237.52044708]
towerse.env.windLoads.windLoads_Py | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.windLoads.windLoads_Pz | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.windLoads.windLoads_qdyn | N/m**2 | [ 0. 25.03556999 33.03463265 38.85133848 43.59349489 47.66612124 51.2741406 54.53378247 57.52462372 60.29872034 62.89582405 65.3412827 67.65663414 69.8568578 71.95775738 73.97045927 75.90419606 77.76672562 79.5646385 81.30517225 82.99153738 84.62800896 86.21688852 87.76301767 89.26933271 90.73845562 92.17273887 93.57430227 94.94129702 96.27938811 97.59014997]
towerse.env.windLoads.windLoads_z | m | [ 0. 2.66666667 5.33333333 8. 10.6691358 13.3382716 16.00740741 18.67407407 21.34074074 24.00740741 26.67654321 29.34567901 32.01481481 34.68148148 37.34814815 40.01481481 42.68148148 45.34814815 48.01481481 50.68395062 53.35308642 56.02222222 58.68888889 61.35555556 64.02222222 66.68888889 69.35555556 72.02222222 74.68148148 77.34074074 80. ]
towerse.env.windLoads.windLoads_beta | deg | [0.]
towerse.env.Px | N/m | [ 0. 49.60868996 69.86783604 84.53616157 96.51910237 106.99786649 116.51589685 125.33418157 133.55491077 141.26734207 148.54858365 155.44684271 162.0067486 168.25915341 174.24053278 179.9763688 185.48864535 190.80056223 195.93291724 200.90747643 205.73422242 210.42595714 214.9896522 219.43944505 223.78391891 224.81601212 225.65091432 226.29805425 230.11098361 233.85031498 237.52044708]
towerse.env.Py | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.Pz | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.env.qdyn | N/m**2 | [ 0. 25.03556999 33.03463265 38.85133848 43.59349489 47.66612124 51.2741406 54.53378247 57.52462372 60.29872034 62.89582405 65.3412827 67.65663414 69.8568578 71.95775738 73.97045927 75.90419606 77.76672562 79.5646385 81.30517225 82.99153738 84.62800896 86.21688852 87.76301767 89.26933271 90.73845562 92.17273887 93.57430227 94.94129702 96.27938811 97.59014997]
towerse.g2e.Px | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.g2e.Py | N/m | [0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0. 0.]
towerse.g2e.Pz | N/m | [ 0. -49.60868996 -69.86783604 -84.53616157 -96.51910237 -106.99786649 -116.51589685 -125.33418157 -133.55491077 -141.26734207 -148.54858365 -155.44684271 -162.0067486 -168.25915341 -174.24053278 -179.9763688 -185.48864535 -190.80056223 -195.93291724 -200.90747643 -205.73422242 -210.42595714 -214.9896522 -219.43944505 -223.78391891 -224.81601212 -225.65091432 -226.29805425 -230.11098361 -233.85031498 -237.52044708]
towerse.g2e.qdyn | Pa | [ 0. 25.03556999 33.03463265 38.85133848 43.59349489 47.66612124 51.2741406 54.53378247 57.52462372 60.29872034 62.89582405 65.3412827 67.65663414 69.8568578 71.95775738 73.97045927 75.90419606 77.76672562 79.5646385 81.30517225 82.99153738 84.62800896 86.21688852 87.76301767 89.26933271 90.73845562 92.17273887 93.57430227 94.94129702 96.27938811 97.59014997]
towerse.tower.section_L | m | [2.66666667 2.66666667 2.66666667 2.6691358 2.6691358 2.6691358 2.66666667 2.66666667 2.66666667 2.6691358 2.6691358 2.6691358 2.66666667 2.66666667 2.66666667 2.66666667 2.66666667 2.66666667 2.6691358 2.6691358 2.6691358 2.66666667 2.66666667 2.66666667 2.66666667 2.66666667 2.66666667 2.65925926 2.65925926 2.65925926]
towerse.tower.f1 | Hz | [0.30998711]
towerse.tower.f2 | Hz | [0.31038441]
towerse.tower.structural_frequencies | Hz | [0.30998711 0.31038441 1.68749135 2.35357004 2.45582448 4.70090137]
towerse.tower.fore_aft_modes |  | [[ 0.75656948 0.93597528 -1.39699369 1.07606695 -0.37161802] [ -94.63134031 -11.42988664 209.74086223 -154.62948408 51.9498488 ] [ -86.14756735 82.0902044 101.46633393 -54.83695817 -41.5720128 ]]
towerse.tower.side_side_modes |  | [[ 0.75745383 0.9373031 -1.40168574 1.08116354 -0.37423473] [ -77.96880669 -3.15854362 160.64687575 -111.44208788 32.92256244] [ -95.34487178 92.63705923 125.83859916 -85.13700331 -36.9937833 ]]
towerse.tower.torsion_modes |  | [[ 3.6067637 -11.34106368 18.74511091 -14.69264023 4.68182929] [ 0. 0. 0. 0. 0. ] [ 0. 0. 0. 0. 0. ]]
towerse.tower.fore_aft_freqs | Hz | [0.30998711 2.35357004 4.70090137]
towerse.tower.side_side_freqs | Hz | [0.31038441 2.45582448 4.88370779]
towerse.tower.torsion_freqs | Hz | [7.62471775 0. 0. ]
towerse.tower.tower_deflection | m | [[0.00000000e+00] [5.90684153e-04] [2.25150690e-03] [4.94749026e-03] [8.87147959e-03] [1.41629492e-02] [2.07718862e-02] [2.87541368e-02] [3.81520846e-02] [4.89071759e-02] [6.11170943e-02] [7.48196417e-02] [8.99437952e-02] [1.06547820e-01] [1.24674839e-01] [1.44239903e-01] [1.65237765e-01] [1.87634498e-01] [2.11335953e-01] [2.36478692e-01] [2.63064862e-01] [2.90972142e-01] [3.20283872e-01] [3.51010592e-01] [3.82991074e-01] [4.16308533e-01] [4.50896511e-01] [4.86569898e-01] [5.23265791e-01] [5.60840443e-01] [5.98975320e-01]]
towerse.tower.top_deflection | m | [0.59897532]
towerse.tower.tower_Fz | N | [[-2329559.52668187] [-2233040.91455475] [-2136476.19816891] [-2068381.07596406] [-2000256.27686225] [-1932105.05755037] [-1873704.16301475] [-1815280.77697617] [-1756836.35915696] [-1708161.85605712] [-1659468.61868149] [-1610757.60008576] [-1569923.79064657] [-1529073.83259711] [-1488208.40781121] [-1451137.42218091] [-1414052.14862158] [-1376953.08861883] [-1348098.49219898] [-1319230.94608405] [-1290350.82392414] [-1268324.78686494] [-1246286.85204036] [-1224237.30876439] [-1207470.27195851] [-1190877.19526122] [-1174458.58520876] [-1162335.43490308] [-1150202.34328425] [-1138059.49835397]]
towerse.tower.tower_Vx | N | [[328851.08170858] [328870.45742701] [328889.21326482] [328890.45465687] [328907.92691198] [328924.77202146] [328927.80614066] [328943.34771004] [328958.25679736] [328951.73068577] [328965.38895065] [328978.40704538] [328967.52915138] [328979.24539387] [328990.31753712] [328986.35875 ] [328996.14314529] [329005.27792915] [328976.31455884] [328984.1825529 ] [328991.39384951] [328961.47261425] [328967.38658414] [328972.63853688] [328945.17801113] [328948.04610272] [328950.25788965] [328924.0765987 ] [328926.15154986] [328927.50095696]]
towerse.tower.tower_Vy | N | [[3744.56538602] [3744.77343385] [3744.974416 ] [3744.98711035] [3745.17349199] [3745.35272955] [3745.38394239] [3745.54836941] [3745.70559602] [3745.63426391] [3745.77723535] [3745.91292269] [3745.79513168] [3745.91602739] [3746.02959807] [3745.98448567] [3746.08340836] [3746.17494756] [3745.86797757] [3745.9450641 ] [3746.01468943] [3745.69972993] [3745.75457877] [3745.8019095 ] [3745.51506253] [3745.53640334] [3745.55016095] [3745.2800025 ] [3745.29025791] [3745.2922871 ]]
towerse.tower.tower_Mxx | N*m | [[-289422.89394497] [-279396.06720038] [-269346.19657017] [-259261.80174198] [-249150.10364246] [-239014.22906085] [-228864.25207173] [-218691.19398221] [-208498.01526265] [-198275.40833322] [-188032.43635622] [-177771.96289144] [-167503.80022528] [-157218.14321303] [-146917.75393542] [-136604.05139391] [-126278.01421939] [-115942.20584485] [-105586.59889497] [ -95219.50599619] [ -84843.57776301] [ -74468.00069508] [ -64082.46468996] [ -53689.82934494] [ -43290.0526267 ] [ -32883.39163922] [ -22472.78944317] [ -12087.87273516] [ -1702.49604348] [ 8679.09132972]]
towerse.tower.tower_Myy | N*m | [[26954358.54313166] [26073581.90075427] [25190654.12302744] [24304551.2550406 ] [23415887.27073312] [22524948.62205444] [21632619.05640794] [20738103.19842842] [19841672.90888439] [18942503.46247804] [18041378.77368252] [17138562.285319 ] [16234910.82784906] [15329546.48668602] [14422723.83156323] [13514568.47523531] [12605161.63418558] [11694740.48477468] [10782402.1640577 ] [ 9868843.48241222] [ 8954309.46777031] [ 8039581.17769246] [ 7123703.88048035] [ 6206941.21463156] [ 5289246.9678082 ] [ 4370577.25867839] [ 3451188.87640712] [ 2533621.14569952] [ 1615476.83523354] [ 697144.00056796]]
towerse.tower.tower_Mzz | N*m | [[186776.07891196] [186775.56452089] [186775.04964067] [186779.3372808 ] [186778.82093128] [186778.30435959] [186780.23724522] [186779.72035511] [186779.20326879] [186781.85559775] [186781.33696835] [186780.81814222] [186783.63375487] [186783.11412388] [186782.59429029] [186784.0459392 ] [186783.52507552] [186783.00401399] [186788.14559007] [186787.62148242] [186787.09714249] [186794.04108437] [186793.51349301] [186792.98561964] [186802.04761401] [186801.93788812] [186801.8313719 ] [186815.39577787] [186814.85620887] [186814.31620052]]
towerse.tower.turbine_F | N | [[ 328840.40446333] [ 3744.45008613] [-2425985.9132618 ]]
towerse.tower.turbine_M | N*m | [[ -299423.52066526] [27832694.82913838] [ 186763.13823761]]
towerse.post.axial_stress | Pa | [[61872420.88296746] [59900967.91719265] [57924232.08325172] [78993387.9035053 ] [76078752.63407531] [73156137.99727139] [81784162.42889844] [78324302.5331069 ] [74856612.18356897] [85722746.31514624] [81484198.72317797] [77237330.84157075] [86993336.81751232] [81867029.87305972] [76732169.91564065] [78961308.8740797 ] [73254183.58225392] [67540514.46812168] [79710890.87712698] [72239915.09519051] [64760812.11810432] [75353440.12754664] [65412094.90593456] [55461039.67231564] [60659305.01150002] [48528337.4423932 ] [35818517.38626017] [30090479.20600474] [10765339.9475976 ] [-8561889.53180765]]
towerse.post.shear_stress | Pa | [[ 1566196.12820255] [ 1566273.95843289] [ 1566349.27739341] [ 2226939.88256256] [ 2227039.66618579] [ 2227135.83488806] [ 2599744.15145883] [ 2599847.67130136] [ 2599946.93434886] [ 3130113.17228596] [ 3130222.57588179] [ 3130326.79072773] [ 3738652.13671116] [ 3738764.03257801] [ 3738869.69164254] [ 4128206.76906139] [ 4128309.67514894] [ 4128405.63520072] [ 5336715.03689779] [ 5336821.59992753] [ 5336919.08293134] [ 7037343.82626984] [ 7037448.73358103] [ 7037541.56720244] [ 9346232.73018564] [ 9464773.33717198] [ 9586289.15025369] [13137629.43866805] [13137693.99562532] [13137733.96143945]]
towerse.post.hoop_stress | Pa | [[ -763.93623155] [ -1771.95613241] [ -2193.53096055] [ -3593.33358772] [ -3977.52327741] [ -4312.28194047] [ -5391.57952863] [ -5710.08097753] [ -6003.8408404 ] [ -7569.77352647] [ -7879.61723951] [ -8172.14849086] [-10104.72811383] [-10420.78205341] [-10723.0565704 ] [-12167.45931447] [-12475.65629631] [-12772.82651714] [-16906.33978521] [-17266.48390899] [-17615.69179433] [-23703.12184705] [-24138.07480502] [-24561.57271116] [-32811.7791422 ] [-32977.35186856] [-33119.33354036] [-45550.08167845] [-46203.69804468] [-46843.72713875]]
towerse.post.hoop_stress_euro | Pa | [[0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.] [0.]]
towerse.post.constr_stress |  | [[0.24153575] [0.23385669] [0.22615643] [0.30844826] [0.29709601] [0.2857137 ] [0.31945181] [0.30598032] [0.29248027] [0.3350014 ] [0.31850638] [0.30198275] [0.34023231] [0.32029897] [0.30034017] [0.30923276] [0.28707334] [0.2649049 ] [0.31298844] [0.28406616] [0.25516112] [0.297744 ] [0.25954489] [0.22150732] [0.24491251] [0.19982874] [0.15402997] [0.14720119] [0.09821413] [0.09478743]]
towerse.post.constr_shell_buckling |  | [[0.01655782] [0.01587693] [0.01519282] [0.02687568] [0.02599689] [0.02511713] [0.03304381] [0.03202274] [0.03100084] [0.04189727] [0.04071082] [0.03952367] [0.05299836] [0.05163211] [0.05026504] [0.05919004] [0.05769411] [0.05619733] [0.09250957] [0.09056032] [0.08860975] [0.15860993] [0.15591391] [0.15321564] [0.28318602] [0.27844815] [0.27377369] [0.55573488] [0.55013386] [0.54452584]]
towerse.post.constr_global_buckling |  | [[0.65240962] [0.62963523] [0.60687274] [0.84418238] [0.8125134 ] [0.78086045] [0.88148688] [0.84480929] [0.80816463] [0.93805918] [0.89412668] [0.85024562] [0.97295789] [0.92073439] [0.86858653] [0.90683225] [0.84938787] [0.79205402] [0.96550911] [0.8911311 ] [0.81690549] [1.00004535] [0.90126972] [0.80271574] [0.96430088] [0.8508198 ] [0.73141528] [0.8425821 ] [0.64116558] [0.44049537]]